## 요약
항목 | 값
총 문항 수 | 23
정답 수 | 3
오답 수 | 20
정확도 (%) | 13.04
평균 실행시간 (ms) | 20852.58
Float 문항 수 | 7
Float 정답 수 | 1
Float 정확도 (%) | 14.29
Dict 문항 수 | 16
Dict 정답 수 | 2
Dict 정확도 (%) | 12.50

## 상세결과
번호 | 질문 | 기대값 | 실제값 | 형식 | 정답여부 | 점수 | 사유 | 정답컬럼 | 사용컬럼 | 컬럼일치 | 실행시간(ms) | 에러메시지 | 생성코드
1 | caseid가 1인 환자의 심전도(SNUADC/ECG_II) 데이터를 500Hz로 로드하고 NaN을 0으로 대체(np.nan_to_num(ecg, nan=0.0))한 뒤, 60Hz 전원 간섭(notch filter, Q=30)을 제거하고, bandpass 5-15Hz 필터 적용 후 np.abs()를 취하여 R-peak를 검출(scipy.signal.find_peaks, 최소 간격 0.4초, prominence=0.5*max(abs(ecg_bp)))해주세요. RR interval 기반으로 순간 심박수(HR=60/RR)를 계산하되, 유효한 RR interval은 0.3초 초과 ~ 2.0초 미만(0.3 < RR < 2.0) 범위입니다. 그 후 5분(300초) 윈도우를 1분(60초)씩 슬라이딩하며 각 윈도우의 평균 심박수를 구하되, 윈도우 내 유효 beat가 5개 초과(>5)인 경우만 포함합니다. 모든 윈도우 평균의 전체 평균을 계산해주세요. 결과는 단일 float 값으로 출력해주세요. | 83.7 | 82.06357682217242 | float | X | 0 | 불일치 (차이: 1.636423) | SNUADC/ECG_II | SNUADC/ECG_II | O | 29405.9153 |  | case_id = 1 fs = 500.0 dt = 1.0 / fs vals = vitaldb.load_case(case_id, ['SNUADC/ECG_II'], dt) if vals is None or (hasattr(vals, "size") and vals.size == 0): result = float("nan") else: ecg = np.asarray(vals).reshape(-1) ecg = np.nan_to_num(ecg, nan=0.0) # 60 Hz notch filter (Q=30) b_notch, a_notch = signal.iirnotch(w0=60.0, Q=30.0, fs=fs) ecg_notched = signal.filtfilt(b_notch, a_notch, ecg) # Bandpass 5-15 Hz b_bp, a_bp = signal.butter(N=4, Wn=[5.0, 15.0], btype='bandpass', fs=fs) ecg_bp = signal.filtfilt(b_bp, a_bp, ecg_notched) ecg_abs = np.abs(ecg_bp) max_abs = np.nanmax(ecg_abs) if ecg_abs.size > 0 else np.nan if not np.isfinite(max_abs) or max_abs <= 0: result = float("nan") else: min_distance = int(round(0.4 * fs)) prominence = 0.5 * max_abs peaks, props = signal.find_peaks(ecg_abs, distance=min_distance, prominence=prominence) if peaks is None or len(peaks) < 2: result = float("nan") else: peak_times = peaks.astype(np.float64) / fs rr = np.diff(peak_times) # seconds valid_rr_mask = (rr > 0.3) & (rr < 2.0) rr_valid = rr[valid_rr_mask] if rr_valid.size == 0: result = float("nan") else: hr_valid = 60.0 / rr_valid # bpm hr_times = peak_times[1:][valid_rr_mask] # assign HR to time of second beat in pair # Sliding windows: 5 min window, 1 min step win = 300.0 step = 60.0 t_end = peak_times[-1] if not np.isfinite(t_end) or t_end < 0: result = float("nan") else: starts = np.arange(0.0, max(0.0, t_end - win) + 1e-9, step) if starts.size == 0: result = float("nan") else: # For each window, include HR values whose timestamp is within [start, start+win) # Compute mean HR only if count > 5 window_means = [] for s in starts: e = s + win m = (hr_times >= s) & (hr_times < e) if np.count_nonzero(m) > 5: window_means.append(np.nanmean(hr_valid[m])) if len(window_means) == 0: result = float("nan") else: result = float(np.nanmean(np.asarray(window_means, dtype=np.float64)))
2 | caseid가 1인 환자의 심박수(Solar8000/HR) 기록 중 누락된 구간을 앞뒤 30초 동안의 값의 평균으로 보간하고, 1초 단위로 리샘플링 후, 5분마다 심박수가 가장 높았던 시점의 수치를 추출해주세요. 결과는 {"max_hr_range": [min, max]} 형식의 dict로 출력해주세요. | {'max_hr_range': [60.0, 139.0]} | {'max_hr_range': [60.0, 139.0]} | dict | O | 1 | 모든 키와 값 일치 | Solar8000/HR | Solar8000/HR, Time | O | 20473.9351 |  | # Target case caseid = '1' df = signals.get(caseid) if df is None or df.empty or ('Time' not in df.columns) or ('Solar8000/HR' not in df.columns): result = {"max_hr_range": [np.nan, np.nan]} else: d = df[['Time', 'Solar8000/HR']].copy() d['Time'] = pd.to_numeric(d['Time'], errors='coerce') d['Solar8000/HR'] = pd.to_numeric(d['Solar8000/HR'], errors='coerce') d = d.dropna(subset=['Time']).sort_values('Time') if d.empty: result = {"max_hr_range": [np.nan, np.nan]} else: # 1) Resample to 1-second grid (explicitly) using Time as seconds t_min = int(np.floor(d['Time'].min())) t_max = int(np.ceil(d['Time'].max())) full_time = np.arange(t_min, t_max + 1, 1, dtype=int) s = d.set_index('Time')['Solar8000/HR'] s.index = pd.to_numeric(s.index, errors='coerce') s = s[~s.index.isna()] s = s[~s.index.duplicated(keep='last')].sort_index() # Align to 1-second grid (nearest second index); keep NaNs where missing s_1s = s.reindex(full_time.astype(float)) # 2) Impute missing segments using mean of values in the 30s before and 30s after # For each time t, compute mean over [t-30, t-1] and [t+1, t+30], then average them. # Use rolling sums/counts to be NaN-resistant. x = s_1s.values.astype(float) valid = np.isfinite(x).astype(float) x0 = np.where(np.isfinite(x), x, 0.0) # previous 30 seconds (exclude current) prev_sum = pd.Series(x0).rolling(window=30, min_periods=1).sum().shift(1).to_numpy() prev_cnt = pd.Series(valid).rolling(window=30, min_periods=1).sum().shift(1).to_numpy() # next 30 seconds (exclude current): reverse, do prev rolling, then reverse back x0_rev = x0[::-1] valid_rev = valid[::-1] next_sum = pd.Series(x0_rev).rolling(window=30, min_periods=1).sum().shift(1).to_numpy()[::-1] next_cnt = pd.Series(valid_rev).rolling(window=30, min_periods=1).sum().shift(1).to_numpy()[::-1] prev_mean = np.divide(prev_sum, prev_cnt, out=np.full_like(prev_sum, np.nan, dtype=float), where=prev_cnt > 0) next_mean = np.divide(next_sum, next_cnt, out=np.full_like(next_sum, np.nan, dtype=float), where=next_cnt > 0) fill_val = np.nanmean(np.vstack([prev_mean, next_mean]), axis=0) x_filled = x.copy() miss = ~np.isfinite(x_filled) x_filled[miss] = fill_val[miss] s_filled = pd.Series(x_filled, index=full_time) # 3) For each 5-minute window, extract the maximum HR value (and its time if needed) # Here we only need the range [min, max] across those per-window maxima. window_id = (s_filled.index.values // 300).astype(int) # 300s = 5min per_window_max = pd.Series(s_filled.values).groupby(window_id).max() per_window_max = per_window_max.replace([np.inf, -np.inf], np.nan).dropna() if per_window_max.empty: result = {"max_hr_range": [np.nan, np.nan]} else: result = {"max_hr_range": [float(per_window_max.min()), float(per_window_max.max())]}
3 | caseid가 1인 환자의 전체 ECG(SNUADC/ECG_II)를 500Hz로 추출해서, 30초 간격(0, 30, 60, ... 초)의 체크포인트에서 해당 샘플 값이 앞뒤 10초(체크포인트 포함) 범위의 Median보다 절대값이 3배 초과이면(¦value¦ > 3 × ¦median¦, median≠0일 때만) 해당 체크포인트 샘플만 NaN으로 설정하고, 전체 데이터에 pandas의 linear interpolation(method='linear', limit_direction='both')을 적용해주세요. 결과는 {"samples": int, "range": [min, max]} 형식의 dict로 출력해주세요. samples는 전체 샘플 수, range는 보간 후 [min, max] 값입니다. | {'samples': 5770550, 'range': [-4.96, 9.19]} | {'samples': 5770550, 'range': [-4.9562602043151855, 5.145430088043213]} | dict | X | 0 | 값 불일치: range: [-4.96, 9.19] != [-4.9562602043151855, 5.145430088043213] | SNUADC/ECG_II | SNUADC/ECG_II | O | 41367.238 |  | # Target case case_id_int = 1 case_id_str = str(case_id_int) # Load high-resolution ECG at 500 Hz fs = 500.0 interval = 1.0 / fs vals = vitaldb.load_case(case_id_int, ['SNUADC/ECG_II'], interval) if vals is None or (hasattr(vals, "size") and vals.size == 0): result = {"samples": 0, "range": [np.nan, np.nan]} else: ecg = np.asarray(vals).reshape(-1) n = int(ecg.shape[0]) # Time vector (seconds) t = np.arange(n, dtype=float) * interval # Checkpoints at 0, 30, 60, ... seconds within available duration max_t = t[-1] if n > 0 else -np.inf checkpoint_times = np.arange(0.0, max_t + 1e-12, 30.0) checkpoint_idx = np.rint(checkpoint_times * fs).astype(int) checkpoint_idx = checkpoint_idx[(checkpoint_idx >= 0) & (checkpoint_idx < n)] # Prepare for median computation in +/-10s window (inclusive) halfwin = int(round(10.0 * fs)) # 10 seconds on each side starts = np.maximum(0, checkpoint_idx - halfwin) ends = np.minimum(n - 1, checkpoint_idx + halfwin) # Compute window medians (NaN-resistant) and flag outliers at checkpoints medians = np.array([np.nanmedian(ecg[s:e + 1]) for s, e in zip(starts, ends)], dtype=float) cp_vals = ecg[checkpoint_idx].astype(float) valid_median = np.isfinite(medians) & (medians != 0) valid_value = np.isfinite(cp_vals) outlier = valid_median & valid_value & (np.abs(cp_vals) > 3.0 * np.abs(medians)) # Set only the checkpoint samples to NaN if outlier ecg_clean = ecg.astype(float).copy() ecg_clean[checkpoint_idx[outlier]] = np.nan # Linear interpolation (both directions) s = pd.Series(ecg_clean) s_interp = s.interpolate(method='linear', limit_direction='both') ecg_interp = s_interp.to_numpy(dtype=float) # Range after interpolation if np.isfinite(ecg_interp).any(): vmin = float(np.nanmin(ecg_interp)) vmax = float(np.nanmax(ecg_interp)) else: vmin, vmax = np.nan, np.nan result = {"samples": int(n), "range": [vmin, vmax]}
4 | caseid가 1인 환자의 HR(Solar8000/HR)을 1Hz로 로드하고 NaN을 linear interpolation으로 보간한 뒤, np.interp를 사용해 10Hz로 업샘플링해주세요. 겹치지 않는 30초 단위 윈도우(300샘플)로 나누어 각 윈도우 내에서 개별 샘플이 해당 윈도우 평균보다 20% 초과(¦sample - avg¦ / avg * 100 > 20) 벗어나는 샘플 개수를 세고, 모든 윈도우의 개수를 합산해주세요. 결과는 단일 float 값으로 출력해주세요. | 22.0 | 17.0 | float | X | 0 | 불일치 (차이: 5.000000) | Solar8000/HR | Solar8000/HR, Time | O | 15104.6128 |  | caseid = '1' df = signals.get(caseid, None) if df is None or df.shape[0] == 0 or ('Time' not in df.columns) or ('Solar8000/HR' not in df.columns): result = float('nan') else: t_1hz = pd.to_numeric(df['Time'], errors='coerce').to_numpy(dtype=float) hr_1hz = pd.to_numeric(df['Solar8000/HR'], errors='coerce').to_numpy(dtype=float) valid = np.isfinite(t_1hz) & np.isfinite(hr_1hz) if valid.sum() == 0: result = float('nan') else: t_valid = t_1hz[valid] hr_valid = hr_1hz[valid] order = np.argsort(t_valid) t_valid = t_valid[order] hr_valid = hr_valid[order] t_unique, idx_unique = np.unique(t_valid, return_index=True) hr_unique = hr_valid[idx_unique] if t_unique.size < 2: result = float('nan') else: t_min = t_unique[0] t_max = t_unique[-1] t_grid_1hz = np.arange(np.ceil(t_min), np.floor(t_max) + 1.0, 1.0, dtype=float) if t_grid_1hz.size == 0: result = float('nan') else: hr_grid_1hz = np.interp(t_grid_1hz, t_unique, hr_unique) t_grid_10hz = np.arange(t_grid_1hz[0], t_grid_1hz[-1] + 1e-9, 0.1, dtype=float) hr_10hz = np.interp(t_grid_10hz, t_grid_1hz, hr_grid_1hz) win = 300 # 30s at 10Hz nwin = hr_10hz.size // win if nwin == 0: result = 0.0 else: x = hr_10hz[:nwin * win].reshape(nwin, win) avg = np.nanmean(x, axis=1) denom = np.abs(avg) denom_safe = np.where(np.isfinite(denom) & (denom > 0), denom, np.nan) pct_dev = np.abs(x - avg[:, None]) / denom_safe[:, None] * 100.0 outlier_counts = np.nansum(pct_dev > 20.0, axis=1) result = float(np.nansum(outlier_counts))
5 | caseid가 1인 환자의 SBP(Solar8000/ART_SBP)와 DBP(Solar8000/ART_DBP)를 1초 단위로 맞추고, 겹치지 않는 3분(180초) 윈도우로 나누어 각 윈도우 내 유효한(SBP, DBP 모두 NaN 아닌) 샘플들의 SBP 평균(avg_sbp)과 DBP 평균(avg_dbp)을 구한 뒤, MBP = (avg_sbp + 2×avg_dbp) / 3 수식을 적용해주세요. 유효 샘플이 10개 이하인 윈도우는 제외합니다. 결과는 {"mbp_range": [min, max]} 형식의 dict로 출력해주세요. 소수점 1자리로 반올림하세요. | {'mbp_range': [-8.9, 166.0]} | {'mbp_range': [-8.899999618530273, 166.0]} | dict | X | 0 | 값 불일치: mbp_range: [-8.9, 166.0] != [-8.899999618530273, 166.0] | Solar8000/ART_SBP,Solar8000/ART_DBP | Solar8000/ART_DBP, Solar8000/ART_SBP, Time, t_sec | X | 14607.9931 |  | caseid = '1' if caseid not in signals: result = {"mbp_range": [np.nan, np.nan]} else: df = signals[caseid][['Time', 'Solar8000/ART_SBP', 'Solar8000/ART_DBP']].copy() # Ensure numeric and aligned at 1-second resolution (data is already 1Hz, but enforce robustness) df['Time'] = pd.to_numeric(df['Time'], errors='coerce') df['t_sec'] = np.floor(df['Time']).astype('Int64') df['Solar8000/ART_SBP'] = pd.to_numeric(df['Solar8000/ART_SBP'], errors='coerce') df['Solar8000/ART_DBP'] = pd.to_numeric(df['Solar8000/ART_DBP'], errors='coerce') # Aggregate to 1-second bins (mean within each second), then keep only seconds where both SBP/DBP are valid sec = ( df.groupby('t_sec', dropna=True)[['Solar8000/ART_SBP', 'Solar8000/ART_DBP']] .mean() .reset_index() ) sec = sec.dropna(subset=['Solar8000/ART_SBP', 'Solar8000/ART_DBP']) if sec.empty: result = {"mbp_range": [np.nan, np.nan]} else: # Non-overlapping 3-minute windows (180 seconds) based on second index sec['win'] = (sec['t_sec'].astype('int64') // 180).astype('int64') win_stats = ( sec.groupby('win')[['Solar8000/ART_SBP', 'Solar8000/ART_DBP']] .agg(avg_sbp=('Solar8000/ART_SBP', 'mean'), avg_dbp=('Solar8000/ART_DBP', 'mean'), n_valid=('Solar8000/ART_SBP', 'size')) .reset_index() ) # Exclude windows with <= 10 valid samples win_stats = win_stats[win_stats['n_valid'] > 10].copy() if win_stats.empty: result = {"mbp_range": [np.nan, np.nan]} else: win_stats['mbp'] = (win_stats['avg_sbp'] + 2.0 * win_stats['avg_dbp']) / 3.0 mbp_min = float(np.round(win_stats['mbp'].min(skipna=True), 1)) mbp_max = float(np.round(win_stats['mbp'].max(skipna=True), 1)) result = {"mbp_range": [mbp_min, mbp_max]}
6 | caseid가 1인 환자의 ART(Solar8000/ART_MBP)를 1Hz로 로드하고 NaN을 linear interpolation으로 먼저 보간한 뒤, np.interp를 사용해 10Hz로 업샘플링해주세요. 겹치지 않는 1분(600샘플) 윈도우로 나누어 각 윈도우의 (max - min) 값을 계산하고, 불완전한 마지막 윈도우는 제외합니다. 모든 윈도우의 (max-min) 값들 중 최소값과 최대값을 구해주세요. 결과는 {"bp_range": [min, max]} 형식의 dict로 출력해주세요. 소수점 1자리로 반올림하세요. | {'bp_range': [0.1, 402.8]} | {'bp_range': [0.0, 401.0]} | dict | X | 0 | 값 불일치: bp_range: [0.1, 402.8] != [0.0, 401.0] | Solar8000/ART_MBP | Solar8000/ART_MBP, Time | O | 17963.2461 |  | caseid = '1' df = signals.get(caseid) if df is None or df.empty or ('Time' not in df.columns) or ('Solar8000/ART_MBP' not in df.columns): result = {"bp_range": [np.nan, np.nan]} else: d = df[['Time', 'Solar8000/ART_MBP']].copy() d['Time'] = pd.to_numeric(d['Time'], errors='coerce') d['Solar8000/ART_MBP'] = pd.to_numeric(d['Solar8000/ART_MBP'], errors='coerce') d = d.dropna(subset=['Time']).sort_values('Time') # 1Hz NaN linear interpolation (time-based) d['Solar8000/ART_MBP'] = d['Solar8000/ART_MBP'].interpolate(method='linear', limit_direction='both') # Prepare for np.interp (requires finite y and increasing x) x = d['Time'].to_numpy(dtype=float) y = d['Solar8000/ART_MBP'].to_numpy(dtype=float) valid = np.isfinite(x) & np.isfinite(y) x = x[valid] y = y[valid] if x.size < 2: result = {"bp_range": [np.nan, np.nan]} else: # Ensure strictly increasing x for interpolation x_unique, idx_unique = np.unique(x, return_index=True) y_unique = y[idx_unique] if x_unique.size < 2: result = {"bp_range": [np.nan, np.nan]} else: # Upsample to 10Hz using np.interp t0 = x_unique[0] t1 = x_unique[-1] t10 = np.arange(t0, t1 + 1e-9, 0.1) # 10Hz grid y10 = np.interp(t10, x_unique, y_unique) # Non-overlapping 1-minute windows at 10Hz: 600 samples win = 600 nwin = y10.size // win if nwin < 1: result = {"bp_range": [np.nan, np.nan]} else: y10_trim = y10[:nwin * win].reshape(nwin, win) ranges = np.nanmax(y10_trim, axis=1) - np.nanmin(y10_trim, axis=1) min_range = float(np.nanmin(ranges)) if np.isfinite(np.nanmin(ranges)) else np.nan max_range = float(np.nanmax(ranges)) if np.isfinite(np.nanmax(ranges)) else np.nan result = {"bp_range": [round(min_range, 1), round(max_range, 1)]}
7 | caseid가 1인 환자의 결측인 SBP(Solar8000/ART_SBP) 데이터를 linear interpolation하고, 10분 단위로 윈도우를 나누어 SBP가 140을 초과한 시간이 총 몇 초인지 합산해주세요. 결과는 단일 float 값으로 출력해주세요. | 2696.0 | 3439.0 | float | X | 0 | 불일치 (차이: 743.000000) | Solar8000/ART_SBP | Solar8000/ART_SBP, Time | O | 14845.576 |  | # Select caseid=1 (signals keys are strings in the provided data) cid = '1' df = signals.get(cid, None) if df is None or df.empty or ('Time' not in df.columns) or ('Solar8000/ART_SBP' not in df.columns): result = float('nan') else: d = df[['Time', 'Solar8000/ART_SBP']].copy() d['Time'] = pd.to_numeric(d['Time'], errors='coerce') d['Solar8000/ART_SBP'] = pd.to_numeric(d['Solar8000/ART_SBP'], errors='coerce') d = d.dropna(subset=['Time']).sort_values('Time') if d.empty: result = float('nan') else: # Linear interpolation over time; fill edges to avoid remaining NaNs d['SBP_interp'] = ( d.set_index('Time')['Solar8000/ART_SBP'] .interpolate(method='index', limit_direction='both') .reset_index(drop=True) ) # 10-minute windows (600 seconds) based on Time win = (np.floor(d['Time'].to_numpy() / 600.0)).astype('int64') d['win'] = win # Count seconds where interpolated SBP > 140 within each window, then sum # (Data are 1Hz, so each row corresponds to ~1 second) seconds_over_140 = d.groupby('win', sort=False)['SBP_interp'].apply(lambda s: float((s > 140).sum())) result = float(seconds_over_140.sum())
8 | caseid가 1인 환자의 ART(Solar8000/ART_MBP)를 0.5초 단위로 간격을 맞춘 뒤, 5분씩 1분 간격으로 이동하며 혈압이 갑자기 10% 이상 하락하는 시점을 찾아주세요. 결과는 {"drop_events": int, "max_drop_percent": float} 형식의 dict로 출력해주세요. | {'drop_events': 41, 'max_drop_percent': 891.1} | {'drop_events': 137, 'max_drop_percent': 142.85714285714286} | dict | X | 0 | 값 불일치: max_drop_percent: 891.1 != 142.85714285714286 | Solar8000/ART_MBP | Solar8000/ART_MBP, Time | O | 17434.0622 |  | # Target case caseid = '1' # Default result result = {"drop_events": 0, "max_drop_percent": float("nan")} if caseid in signals: df = signals[caseid][['Time', 'Solar8000/ART_MBP']].copy() df = df.sort_values('Time') # Ensure numeric df['Time'] = pd.to_numeric(df['Time'], errors='coerce') df['Solar8000/ART_MBP'] = pd.to_numeric(df['Solar8000/ART_MBP'], errors='coerce') df = df.dropna(subset=['Time']) if len(df) > 0: tmin = df['Time'].min() tmax = df['Time'].max() # Resample to 0.5s grid using time interpolation tgrid = np.arange(tmin, tmax + 0.5, 0.5) s = df.set_index('Time')['Solar8000/ART_MBP'] s = s[~s.index.duplicated(keep='last')].sort_index() sgrid = s.reindex(tgrid) sgrid = sgrid.interpolate(method='index', limit_area='inside') # keep edges as NaN sgrid = sgrid.astype(float) # Rolling window: 5 minutes (300s) with 0.5s step => 600 samples # Move every 1 minute (60s) => 120 samples win = int(round(300 / 0.5)) # 600 step = int(round(60 / 0.5)) # 120 if len(sgrid) >= win: # Rolling max/min within each 5-min window roll_max = sgrid.rolling(window=win, min_periods=win).max() roll_min = sgrid.rolling(window=win, min_periods=win).min() # Drop percent within window: (max - min) / max * 100 drop_pct = (roll_max - roll_min) / roll_max * 100.0 drop_pct = drop_pct.replace([np.inf, -np.inf], np.nan) # Evaluate only at 1-minute grid points (window end indices) idx = np.arange(win - 1, len(sgrid), step) drop_at_steps = drop_pct.iloc[idx] # Count events where drop >= 10% drop_events = int(np.nansum(drop_at_steps.values >= 10.0)) # Max drop percent across evaluated windows max_drop_percent = float(np.nanmax(drop_at_steps.values)) if np.any(~np.isnan(drop_at_steps.values)) else float("nan") result = {"drop_events": drop_events, "max_drop_percent": max_drop_percent}
9 | caseid가 1인 환자의 ART(Solar8000/ART_MBP)를 0.5초 단위로 간격을 맞춘 뒤, 5분씩 1분 간격으로 이동하며 혈압이 갑자기 10% 이상 하락하고 3분동안 유지된 횟수를 찾아주세요. 결과는 단일 float 값으로 출력해주세요. | 0.0 | 4.0 | float | X | 0 | 불일치 (차이: 4.000000) | Solar8000/ART_MBP | Solar8000/ART_MBP, Time | O | 27264.4069 |  | # Select caseid=1 (signals keys are strings) cid = '1' df = signals.get(cid, None) if df is None or df.empty or ('Time' not in df.columns) or ('Solar8000/ART_MBP' not in df.columns): result = float(0.0) else: d = df[['Time', 'Solar8000/ART_MBP']].copy() d = d.sort_values('Time') d['Time'] = pd.to_numeric(d['Time'], errors='coerce') d['Solar8000/ART_MBP'] = pd.to_numeric(d['Solar8000/ART_MBP'], errors='coerce') d = d.dropna(subset=['Time']) if d.empty: result = float(0.0) else: # Resample to 0.5s grid using time-based interpolation tmin = float(np.nanmin(d['Time'].values)) tmax = float(np.nanmax(d['Time'].values)) if not np.isfinite(tmin) or not np.isfinite(tmax) or tmax <= tmin: result = float(0.0) else: # 0.5-second grid tgrid = np.arange(tmin, tmax + 1e-9, 0.5, dtype=float) # Interpolate MBP onto grid (only where we have valid MBP points) valid = d.dropna(subset=['Solar8000/ART_MBP']) if valid.shape[0] < 2: result = float(0.0) else: x = valid['Time'].values.astype(float) y = valid['Solar8000/ART_MBP'].values.astype(float) # Ensure strictly increasing x for interpolation order = np.argsort(x) x = x[order] y = y[order] x_unique, idx_unique = np.unique(x, return_index=True) y_unique = y[idx_unique] if x_unique.size < 2: result = float(0.0) else: ygrid = np.interp(tgrid, x_unique, y_unique, left=np.nan, right=np.nan) # Sliding windows: 5 minutes window, step 1 minute win_len = int(round(300.0 / 0.5)) # 600 samples step = int(round(60.0 / 0.5)) # 120 samples sustain_len = int(round(180.0 / 0.5)) # 360 samples n = ygrid.size if n < win_len: result = float(0.0) else: # Build window start indices starts = np.arange(0, n - win_len + 1, step, dtype=int) if starts.size == 0: result = float(0.0) else: # For each window, define baseline as mean of first 1 minute (60s) within the 5-min window base_len = int(round(60.0 / 0.5)) # 120 samples # Create 2D indices for baseline and sustain segments base_idx = starts[:, None] + np.arange(0, base_len, dtype=int)[None, :] # Candidate drop segment: next 3 minutes immediately after baseline (from 60s to 240s) drop_start = base_len sustain_idx = starts[:, None] + np.arange(drop_start, drop_start + sustain_len, dtype=int)[None, :] base_vals = ygrid[base_idx] sustain_vals = ygrid[sustain_idx] # Compute baseline mean (require enough non-NaN) base_mean = np.nanmean(base_vals, axis=1) base_valid_cnt = np.sum(np.isfinite(base_vals), axis=1) # Condition: baseline must be valid (at least half of baseline samples present) base_ok = np.isfinite(base_mean) & (base_valid_cnt >= (base_len * 0.5)) # Drop threshold: >=10% drop => sustain <= 0.9 * baseline thr = 0.9 * base_mean # For sustain, require that for 3 minutes it stays below threshold sustain_finite = np.isfinite(sustain_vals) sustain_valid_cnt = np.sum(sustain_finite, axis=1) # Evaluate "maintained" as: all available points in sustain are <= thr, # and at least 80% of sustain samples are present to avoid counting sparse data. # (NaNs are treated as missing, not as satisfying the condition.) cond_le = (sustain_vals <= thr[:, None]) & sustain_finite all_le_on_available = np.all(cond_le ¦ (~sustain_finite), axis=1) sustain_ok = sustain_valid_cnt >= (sustain_len * 0.8) event = base_ok & sustain_ok & all_le_on_available result = float(np.sum(event))
10 | caseid가 1인 환자의 SBP(Solar8000/ART_SBP)에서 값이 0 또는 300 이상을 삭제하고, 10초 단위로 평균값을 구해 리샘플링한 다음, 겹치지 않는 30분 단위 윈도우를 적용해 각 윈도우의 시작값과 끝값 사이의 변화율(%)을 계산해주세요. 변화율 = (끝값 - 시작값) / 시작값 × 100. 결과는 {"rate_of_change_range": [min, max]} 형식의 dict로 출력해주세요. | {'rate_of_change_range': [-9.9, 1127.5]} | {'rate_of_change_range': [-1285.45458984375, 72.37049102783203]} | dict | X | 0 | 값 불일치: rate_of_change_range: [-9.9, 1127.5] != [-1285.45458984375, 72.37049102783203] | Solar8000/ART_SBP | Solar8000/ART_SBP, Time, td | O | 14495.441 |  | caseid = '1' if caseid not in signals: result = {"rate_of_change_range": [np.nan, np.nan]} else: df = signals[caseid][['Time', 'Solar8000/ART_SBP']].copy() # Ensure numeric df['Time'] = pd.to_numeric(df['Time'], errors='coerce') df['Solar8000/ART_SBP'] = pd.to_numeric(df['Solar8000/ART_SBP'], errors='coerce') # Remove invalid SBP values: 0 or >= 300 (also keep NaN as NaN) sbp = df['Solar8000/ART_SBP'] df.loc[(sbp == 0) ¦ (sbp >= 300), 'Solar8000/ART_SBP'] = np.nan # Sort by time and set time index as Timedelta for resampling df = df.dropna(subset=['Time']).sort_values('Time') df['td'] = pd.to_timedelta(df['Time'], unit='s') df = df.set_index('td') # 10-second mean resampling sbp_10s = df['Solar8000/ART_SBP'].resample('10s').mean() # 30-minute non-overlapping windows: start and end values within each window g = sbp_10s.groupby(pd.Grouper(freq='30min')) start_vals = g.first() end_vals = g.last() # Rate of change (%) = (end - start) / start * 100 # Avoid division by zero and NaNs valid = start_vals.notna() & end_vals.notna() & (start_vals != 0) roc = ((end_vals[valid] - start_vals[valid]) / start_vals[valid]) * 100.0 if roc.size == 0: result = {"rate_of_change_range": [np.nan, np.nan]} else: result = {"rate_of_change_range": [float(np.nanmin(roc.values)), float(np.nanmax(roc.values))]}
11 | caseid가 1인 환자의 DBP(Solar8000/ART_DBP)를 1초단위로 맞추고, 겹치지 않는 10분 단위 윈도우(non-overlapping)로 나누어 각 윈도우에서 (최고 혈압 - 최저 혈압) 수치가 20mmHg 이상인지 확인해주세요. 결과는 {"patient_flag": bool, "windows_analyzed": int} 형식의 dict로 출력해주세요. | {'patient_flag': True, 'windows_analyzed': 18} | {'patient_flag': True, 'windows_analyzed': 19} | dict | X | 0 | 값 불일치: windows_analyzed: 18.0 != 19.0 | Solar8000/ART_DBP | Solar8000/ART_DBP, Time, t_sec | O | 22426.7578 |  | caseid = '1' if caseid not in signals or signals[caseid] is None or signals[caseid].empty: result = {"patient_flag": False, "windows_analyzed": 0} else: df = signals[caseid][['Time', 'Solar8000/ART_DBP']].copy() # Ensure numeric and align to 1-second grid (round to nearest second, then aggregate duplicates) df['Time'] = pd.to_numeric(df['Time'], errors='coerce') df['Solar8000/ART_DBP'] = pd.to_numeric(df['Solar8000/ART_DBP'], errors='coerce') df = df.dropna(subset=['Time']) df['t_sec'] = np.rint(df['Time']).astype('int64') # If multiple samples map to same second, take mean (NaN-safe) sec = df.groupby('t_sec', as_index=True)['Solar8000/ART_DBP'].mean() if sec.empty: result = {"patient_flag": False, "windows_analyzed": 0} else: # Reindex to continuous 1-second grid full_index = pd.RangeIndex(start=int(sec.index.min()), stop=int(sec.index.max()) + 1, step=1) sec = sec.reindex(full_index) # Non-overlapping 10-minute windows (600 seconds) based on absolute second index win_id = (sec.index.values // 600).astype('int64') win_df = pd.DataFrame({'win': win_id, 'dbp': sec.values}) # Compute per-window range (max-min) ignoring NaNs win_max = win_df.groupby('win', as_index=True)['dbp'].max() win_min = win_df.groupby('win', as_index=True)['dbp'].min() win_range = win_max - win_min # Count windows with at least one valid value (i.e., range is not NaN) windows_analyzed = int(win_range.notna().sum()) # Patient flag: any analyzed window has range >= 20 mmHg patient_flag = bool((win_range >= 20).fillna(False).any()) result = {"patient_flag": patient_flag, "windows_analyzed": windows_analyzed}
12 | caseid가 1인 환자의 ART(Solar8000/ART_MBP)를 linear interpolation으로 보간한 뒤, 1분(60초) 구간의 AUC를 사다리꼴 적분(np.trapz)으로 계산하되 10초 간격으로 슬라이딩하며 계산해주세요. 그 후 연속된 AUC 값들의 차이(diff)를 구하고, 이 diff 값들의 [min, max] 범위를 구해주세요. 결과는 {"auc_range": [min, max]} 형식의 dict로 출력해주세요. | {'auc_range': [-531, 14579]} | {'auc_range': [-2739.75, 2780.0]} | dict | X | 0 | 값 불일치: auc_range: [-531, 14579] != [-2739.75, 2780.0] | Solar8000/ART_MBP | Solar8000/ART_MBP, Time | O | 16202.8019 |  | caseid = '1' df = signals.get(caseid) if df is None or df.empty or ('Time' not in df.columns) or ('Solar8000/ART_MBP' not in df.columns): result = {"auc_range": [np.nan, np.nan]} else: d = df[['Time', 'Solar8000/ART_MBP']].copy() d['Time'] = pd.to_numeric(d['Time'], errors='coerce') d['Solar8000/ART_MBP'] = pd.to_numeric(d['Solar8000/ART_MBP'], errors='coerce') d = d.dropna(subset=['Time']).sort_values('Time') if d.empty: result = {"auc_range": [np.nan, np.nan]} else: t = d['Time'].to_numpy(dtype=float) y = d['Solar8000/ART_MBP'].to_numpy(dtype=float) # Linear interpolation over time (only within valid data range) y_interp = pd.Series(y, index=t).interpolate(method='index', limit_area='inside').to_numpy(dtype=float) # Sliding AUC: 60s window, step 10s t_min = np.nanmin(t) t_max = np.nanmax(t) start = math.ceil(t_min / 10.0) * 10.0 end = t_max - 60.0 if not np.isfinite(start) or not np.isfinite(end) or start > end: result = {"auc_range": [np.nan, np.nan]} else: starts = np.arange(start, end + 1e-9, 10.0) # Precompute indices for each window using searchsorted (vectorized) left_idx = np.searchsorted(t, starts, side='left') right_idx = np.searchsorted(t, starts + 60.0, side='right') aucs = np.full(starts.shape[0], np.nan, dtype=float) for i in range(starts.shape[0]): li = left_idx[i] ri = right_idx[i] if ri - li >= 2: tw = t[li:ri] yw = y_interp[li:ri] if np.isfinite(yw).sum() >= 2: aucs[i] = np.trapz(yw, tw) diffs = np.diff(aucs) diffs = diffs[np.isfinite(diffs)] if diffs.size == 0: result = {"auc_range": [np.nan, np.nan]} else: result = {"auc_range": [float(np.min(diffs)), float(np.max(diffs))]}
13 | caseid가 1인 환자의 PPG(SNUADC/PLETH)를 125Hz로 추출한 뒤 10Hz로 리샘플링하고, 겹치지 않는 1분 단위 윈도우로 나누어 각 윈도우의 평균치를 산출해주세요. 결과는 {"minutes_analyzed": int, "avg_range": [min, max]} 형식의 dict로 출력해주세요. | {'minutes_analyzed': 192, 'avg_range': [-6.98, 41.08]} | {'minutes_analyzed': 192, 'avg_range': [-5.286154779815826, 41.245126147112735]} | dict | X | 0 | 값 불일치: avg_range: [-6.98, 41.08] != [-5.286154779815826, 41.245126147112735] | SNUADC/PLETH | SNUADC/PLETH | O | 19912.343 |  | # Target case case_id = 1 # Load high-resolution PPG (PLETH) at 125 Hz interval_125 = 1 / 125 vals_125 = vitaldb.load_case(case_id, ['SNUADC/PLETH'], interval_125) # Default result if data is unavailable result = {"minutes_analyzed": 0, "avg_range": [np.nan, np.nan]} if vals_125 is not None and np.size(vals_125) > 0: pleth_125 = np.asarray(vals_125).reshape(-1) n = pleth_125.size # Time axis in seconds for 125 Hz samples t_125 = np.arange(n, dtype=float) * interval_125 # Resample to 10 Hz using linear interpolation (NaN-aware) interval_10 = 0.1 t_10 = np.arange(0.0, t_125[-1] + 1e-12, interval_10) valid = np.isfinite(pleth_125) if valid.sum() >= 2: pleth_10 = np.interp(t_10, t_125[valid], pleth_125[valid], left=np.nan, right=np.nan) # Non-overlapping 1-minute windows at 10 Hz => 600 samples per window win = int(60 / interval_10) # 600 nwin = pleth_10.size // win if nwin > 0: pleth_10_trim = pleth_10[: nwin * win].reshape(nwin, win) win_means = np.nanmean(pleth_10_trim, axis=1) if np.isfinite(win_means).any(): result = { "minutes_analyzed": int(nwin), "avg_range": [float(np.nanmin(win_means)), float(np.nanmax(win_means))], } else: result = {"minutes_analyzed": int(nwin), "avg_range": [np.nan, np.nan]}
14 | caseid가 1인 환자의 PPG(SNUADC/PLETH)를 20Hz(0.05초 간격)로 추출하고, 겹치지 않는 30초 단위 윈도우로 나누어 각 윈도우의 최고값과 최저값을 구해주세요. 결과는 {"windows": int, "max_range": [min, max], "min_range": [min, max]} 형식의 dict로 출력해주세요. | {'windows': 384, 'max_range': [-4.31, 94.83], 'min_range': [-18.14, 30.44]} | {'windows': 384, 'max_range': [-3.128890037536621, 95.6167984008789], 'min_range': [-16.163299560546875, 30.444599151611328]} | dict | X | 0 | 값 불일치: max_range: [-4.31, 94.83] != [-3.128890037536621, 95.6167984008789] | SNUADC/PLETH | SNUADC/PLETH | O | 16785.943 |  | # Target case case_id = 1 # Load PPG at 20 Hz (0.05s interval) from VitalDB vals = vitaldb.load_case(case_id, ['SNUADC/PLETH'], 0.05) # Handle missing/empty load if vals is None or (hasattr(vals, "size") and vals.size == 0): result = {"windows": 0, "max_range": [np.nan, np.nan], "min_range": [np.nan, np.nan]} else: ppg = np.asarray(vals).reshape(-1) n = ppg.shape[0] # 30-second non-overlapping windows at 20 Hz => 600 samples/window win_len = int(round(30 / 0.05)) # 600 n_windows = n // win_len if n_windows <= 0: result = {"windows": 0, "max_range": [np.nan, np.nan], "min_range": [np.nan, np.nan]} else: ppg_trim = ppg[: n_windows * win_len].reshape(n_windows, win_len) # Per-window max/min (NaN-resistant) win_max = np.nanmax(ppg_trim, axis=1) win_min = np.nanmin(ppg_trim, axis=1) # Ranges across windows max_range = [float(np.nanmin(win_max)), float(np.nanmax(win_max))] if np.any(~np.isnan(win_max)) else [np.nan, np.nan] min_range = [float(np.nanmin(win_min)), float(np.nanmax(win_min))] if np.any(~np.isnan(win_min)) else [np.nan, np.nan] result = {"windows": int(n_windows), "max_range": max_range, "min_range": min_range}
15 | caseid가 1인 환자의 PPG(SNUADC/PLETH) 데이터를 10Hz(0.1초 간격)로 추출한 뒤, 각 시점의 값이 주변 10초 구간의 중간값(Median)으로부터 표준편차의 3배(3-Sigma) 범위를 벗어날 경우 이를 이상치로 보고 삭제해주세요. 결과는 {"samples": int, "outliers_removed": int} 형식의 dict로 출력해주세요. | {'samples': 115411, 'outliers_removed': 139} | {'samples': 115411, 'outliers_removed': 129} | dict | X | 0 | 값 불일치: outliers_removed: 139.0 != 129.0 | SNUADC/PLETH | SNUADC/PLETH | O | 32983.5229 |  | # Target case case_id = 1 # Load PPG at 10Hz (0.1s interval) from VitalDB vals = vitaldb.load_case(case_id, ['SNUADC/PLETH'], 0.1) # Handle missing/empty load if vals is None or (hasattr(vals, "size") and vals.size == 0): result = {"samples": 0, "outliers_removed": 0} else: x = np.asarray(vals).reshape(-1) n_total = int(x.size) # Rolling window: 10 seconds at 10Hz => 100 samples win = 100 s = pd.Series(x, dtype="float64") # Rolling median and std (NaN-aware). Use centered window to represent "surrounding" 10s. med = s.rolling(window=win, center=True, min_periods=max(10, win // 5)).median() sd = s.rolling(window=win, center=True, min_periods=max(10, win // 5)).std(ddof=0) # Outlier rule: ¦x - median¦ > 3*std, only where x/median/std are all available and std > 0 valid = s.notna() & med.notna() & sd.notna() & (sd > 0) outlier = valid & ((s - med).abs() > (3.0 * sd)) outliers_removed = int(outlier.sum()) # "Delete" outliers (set to NaN) - kept for completeness; not required in output s_clean = s.mask(outlier, np.nan) result = {"samples": n_total, "outliers_removed": outliers_removed}
16 | caseid가 1인 환자의 PPG(SNUADC/PLETH) 데이터를 10Hz(0.1초 간격)로 추출한 뒤, 각 시점의 값이 주변 10초 구간의 중간값(Median)으로부터 표준편차의 3배(3-Sigma) 범위를 벗어날 경우 이를 이상치로 보고 삭제하고, 겹치지 않는 30초 단위 윈도우로 나누어 각 윈도우의 최고값과 최저값을 구해주세요. 결과는 {"windows": int, "max_range": [min, max], "min_range": [min, max]} 형식의 dict로 출력해주세요. | {'windows': 384, 'max_range': [-3.92, 94.83], 'min_range': [-15.37, 30.44]} | {'windows': 385, 'max_range': [-6.683740139007568, 94.82679748535156], 'min_range': [-14.583399772644043, 30.444599151611328]} | dict | X | 0 | 값 불일치: max_range: [-3.92, 94.83] != [-6.683740139007568, 94.82679748535156] | SNUADC/PLETH | SNUADC/PLETH | O | 19629.2632 |  | # Target case case_id = 1 # Load PPG at 10Hz (0.1s interval) from VitalDB vals = vitaldb.load_case(case_id, ['SNUADC/PLETH'], 0.1) # Handle missing/empty load if vals is None or (hasattr(vals, "size") and vals.size == 0): result = {"windows": 0, "max_range": [np.nan, np.nan], "min_range": [np.nan, np.nan]} else: x = np.asarray(vals).reshape(-1) n = x.size # Build time axis (seconds) at 10Hz t = np.arange(n, dtype=float) * 0.1 s = pd.Series(x) # Rolling 10s window => 10s / 0.1s = 100 samples win = 100 # Use centered rolling stats; require at least half-window valid samples minp = max(1, win // 2) med = s.rolling(window=win, center=True, min_periods=minp).median() std = s.rolling(window=win, center=True, min_periods=minp).std(ddof=0) # Outlier rule: ¦x - median¦ > 3*std (NaN-safe) diff = (s - med).abs() thr = 3.0 * std is_outlier = diff > thr is_outlier = is_outlier.fillna(False) # Delete outliers (set to NaN) s_clean = s.mask(is_outlier, np.nan) # Non-overlapping 30s windows => 30s / 0.1s = 300 samples w30 = 300 idx = np.arange(n, dtype=int) win_id = idx // w30 df = pd.DataFrame({"win": win_id, "v": s_clean.values}) g = df.groupby("win", sort=True)["v"] wmax = g.max() wmin = g.min() # Count windows with at least one valid sample valid_windows = int(((g.count()) > 0).sum()) # Ranges across windows if wmax.dropna().empty: max_range = [np.nan, np.nan] else: max_range = [float(wmax.min(skipna=True)), float(wmax.max(skipna=True))] if wmin.dropna().empty: min_range = [np.nan, np.nan] else: min_range = [float(wmin.min(skipna=True)), float(wmin.max(skipna=True))] result = {"windows": valid_windows, "max_range": max_range, "min_range": min_range}
17 | caseid가 1인 환자의 PPG(SNUADC/PLETH)의 비어있는 구간을 앞뒤 10초 값의 평균으로 채우고, 10분 구간 내에서 신호의 최대값이 전체 평균보다 2배 높은 구간의 누적시간을 구해주세요. 결과는 단일 float 값으로 출력해주세요. | 42.5 | 2902800.0 | float | X | 0 | 불일치 (차이: 2902757.500000) | SNUADC/PLETH | SNUADC/PLETH, Time | O | 16744.0777 |  | # Target case cid = '1' if cid not in signals: result = float('nan') else: df = signals[cid][['Time', 'SNUADC/PLETH']].copy() # Ensure sorted by Time df = df.sort_values('Time', kind='mergesort').reset_index(drop=True) # Use 1Hz assumption from pre-loaded signals; compute rolling means over 10 seconds x = pd.to_numeric(df['SNUADC/PLETH'], errors='coerce') # Mean of previous 10 seconds (excluding current) prev10 = x.shift(1).rolling(window=10, min_periods=1).mean() # Mean of next 10 seconds (excluding current) next10 = x.shift(-1).iloc[::-1].rolling(window=10, min_periods=1).mean().iloc[::-1] # Fill NaNs with average of prev10 and next10; if one side missing, use the other fill_val = (prev10 + next10) / 2.0 fill_val = fill_val.where(~fill_val.isna(), prev10) fill_val = fill_val.where(~fill_val.isna(), next10) x_filled = x.copy() x_filled = x_filled.fillna(fill_val) # Overall mean after filling (ignore remaining NaNs if any) overall_mean = float(np.nanmean(x_filled.values)) if not np.isfinite(overall_mean) or overall_mean == 0: result = 0.0 else: # 10-minute windows = 600 samples at 1Hz win = 600 roll_max = x_filled.rolling(window=win, min_periods=win).max() # Condition: window max > 2 * overall mean cond = roll_max > (2.0 * overall_mean) # Each True corresponds to a 10-minute window ending at that second. # Cumulative time = count(True) * 600 seconds total_seconds = float(cond.sum()) * float(win) result = total_seconds
18 | caseid가 1인 환자의 HR(Solar8000/HR)과 SBP(Solar8000/ART_SBP)를 1초 단위로 맞춘 뒤, HR / SBP 수식으로 쇼크 지표(Shock Index)를 구해주세요. 그리고 5분 윈도우를 1분씩 슬라이딩하며 각 윈도우 내에서 SI가 1.0을 초과하는 초(second) 수를 세고, 해당 윈도우의 평균 SI를 계산해주세요. si_above_1_count는 모든 윈도우에서 SI>1.0인 초 수를 합산한 값입니다. 결과는 {"si_above_1_count": int, "avg_shock_index_range": [min, max]} 형식의 dict로 출력해주세요. | {'si_above_1_count': 194, 'avg_shock_index_range': [0.45, 7.413]} | {'si_above_1_count': 206, 'avg_shock_index_range': [0.45007562001546225, 86.0]} | dict | X | 0 | 값 불일치: si_above_1_count: 194.0 != 206.0 | Solar8000/HR,Solar8000/ART_SBP | Solar8000/ART_SBP, Solar8000/HR | X | 19671.1988 |  | # Select caseid=1 (signals keys are strings) caseid = '1' df = signals.get(caseid, None) if df is None or df.empty: result = {"si_above_1_count": 0, "avg_shock_index_range": [np.nan, np.nan]} else: # Ensure numeric and aligned at 1-second resolution (already 1Hz with shared Time) hr = pd.to_numeric(df['Solar8000/HR'], errors='coerce') sbp = pd.to_numeric(df['Solar8000/ART_SBP'], errors='coerce') # Shock Index = HR / SBP; avoid division by zero/negative SBP valid = sbp > 0 si = pd.Series(np.nan, index=df.index, dtype='float64') si.loc[valid] = hr.loc[valid] / sbp.loc[valid] # 5-min window (300s) sliding every 1 min (60s) window = 300 step = 60 n = len(si) if n < window: # No full windows available result = {"si_above_1_count": 0, "avg_shock_index_range": [np.nan, np.nan]} else: starts = np.arange(0, n - window + 1, step) # Build 2D view: (num_windows, window_length) si_vals = si.to_numpy(dtype='float64', copy=False) idx2d = starts[:, None] + np.arange(window)[None, :] win = si_vals[idx2d] # Count seconds with SI > 1.0 per window (NaN-safe) above = (win > 1.0) & np.isfinite(win) above_count_per_window = above.sum(axis=1).astype(int) # Mean SI per window (NaN-safe) win_mean = np.nanmean(win, axis=1) si_above_1_count = int(above_count_per_window.sum()) if np.all(np.isnan(win_mean)): avg_range = [np.nan, np.nan] else: avg_range = [float(np.nanmin(win_mean)), float(np.nanmax(win_mean))] result = {"si_above_1_count": si_above_1_count, "avg_shock_index_range": avg_range}
19 | caseid가 1인 환자의 DBP(Solar8000/ART_DBP)를 5초 간격으로 맞추고 비어있는 곳은 Linear Interpolation한 뒤, 겹치지 않는 10분 단위 윈도우별 평균을 계산해주세요. 연속된 윈도우에서 이전 윈도우 대비 5% 이상 하락하는 구간이 3개 이상(30분 이상) 연속되는 경우의 개수를 세어주세요. 결과는 단일 float 값으로 출력해주세요. | 1.0 | 1.0 | float | O | 1 | 정확히 일치 | Solar8000/ART_DBP | Solar8000/ART_DBP, Time | O | 19562.1231 |  | caseid = '1' df = signals.get(caseid) if df is None or df.empty or ('Time' not in df.columns) or ('Solar8000/ART_DBP' not in df.columns): result = float(0.0) else: s = df[['Time', 'Solar8000/ART_DBP']].copy() s['Time'] = pd.to_numeric(s['Time'], errors='coerce') s['Solar8000/ART_DBP'] = pd.to_numeric(s['Solar8000/ART_DBP'], errors='coerce') s = s.dropna(subset=['Time']).sort_values('Time') if s.empty: result = float(0.0) else: t_min = s['Time'].min() t_max = s['Time'].max() # 5초 격자 생성 (원 데이터 Time이 초 단위 float라고 가정) start = math.ceil(t_min / 5.0) * 5.0 end = math.floor(t_max / 5.0) * 5.0 if not np.isfinite(start) or not np.isfinite(end) or end < start: result = float(0.0) else: grid = pd.DataFrame({'Time': np.arange(start, end + 0.0001, 5.0)}) # 원 데이터가 1Hz이므로 5초 격자에 맞춰 nearest(±2.5초)로 매칭 후 선형보간 s2 = pd.merge_asof( grid.sort_values('Time'), s[['Time', 'Solar8000/ART_DBP']].sort_values('Time'), on='Time', direction='nearest', tolerance=2.5 ) # Linear interpolation (내부 구간만), 이후 남는 NaN은 제거 s2['Solar8000/ART_DBP'] = s2['Solar8000/ART_DBP'].interpolate(method='linear', limit_area='inside') s2 = s2.dropna(subset=['Solar8000/ART_DBP']) if s2.empty: result = float(0.0) else: # 겹치지 않는 10분(600초) 윈도우 평균 win_id = ((s2['Time'] - start) // 600.0).astype('int64') win_mean = s2.groupby(win_id, sort=True)['Solar8000/ART_DBP'].mean() if win_mean.shape[0] < 2: result = float(0.0) else: prev = win_mean.shift(1) # 이전 윈도우 대비 5% 이상 하락: current <= 0.95 * prev drop_flag = (win_mean <= 0.95 * prev) & prev.notna() & win_mean.notna() # True run length 계산 후, 길이>=3 인 run의 개수 run_id = (drop_flag != drop_flag.shift(1)).cumsum() run_lengths = drop_flag.groupby(run_id).sum() run_is_true = drop_flag.groupby(run_id).first() count_runs_ge3 = int(((run_lengths >= 3) & (run_is_true == True)).sum()) result = float(count_runs_ge3)
20 | caseid가 1인 환자의 MBP(Solar8000/ART_MBP)를 10Hz로 리샘플링하고, 겹치지 않는 10분 단위 윈도우(non-overlapping)로 나누어 각 윈도우에서 혈압이 60mmHg 이하인 영역의 AUC를 계산하여 가장 수치가 큰 구간을 찾아주세요. 결과는 {"windows": int, "max_hypotension_auc": float} 형식의 dict로 출력해주세요. | {'windows': 18, 'max_hypotension_auc': 41243.2} | {'windows': 18, 'max_hypotension_auc': 41250.0} | dict | O | 1 | 모든 키와 값 일치 | Solar8000/ART_MBP | Solar8000/ART_MBP, Time | O | 18203.9819 |  | caseid = 1 cid = str(caseid) if cid not in signals or signals[cid].empty: result = {"windows": 0, "max_hypotension_auc": float("nan")} else: df = signals[cid][["Time", "Solar8000/ART_MBP"]].copy() df = df.sort_values("Time") t = df["Time"].to_numpy(dtype=float) y = pd.to_numeric(df["Solar8000/ART_MBP"], errors="coerce").to_numpy(dtype=float) valid = np.isfinite(t) & np.isfinite(y) if valid.sum() < 2: result = {"windows": 0, "max_hypotension_auc": float("nan")} else: t = t[valid] y = y[valid] # Ensure strictly increasing time for interpolation order = np.argsort(t) t = t[order] y = y[order] t_unique, unique_idx = np.unique(t, return_index=True) y_unique = y[unique_idx] if t_unique.size < 2: result = {"windows": 0, "max_hypotension_auc": float("nan")} else: # Resample to 10 Hz (0.1s) dt = 0.1 t0 = math.ceil(t_unique[0] / dt) * dt t1 = math.floor(t_unique[-1] / dt) * dt if t1 < t0: result = {"windows": 0, "max_hypotension_auc": float("nan")} else: t10 = np.arange(t0, t1 + 1e-9, dt) # Linear interpolation; outside range -> NaN y10 = np.interp(t10, t_unique, y_unique) in_range = (t10 >= t_unique[0]) & (t10 <= t_unique[-1]) y10 = np.where(in_range, y10, np.nan) # Hypotension "depth" below 60 mmHg depth = np.maximum(0.0, 60.0 - y10) depth = np.where(np.isfinite(depth), depth, 0.0) # Non-overlapping 10-minute windows (600s) at 10Hz => 6000 samples win_sec = 600.0 win_n = int(round(win_sec / dt)) # 6000 n = depth.size windows = n // win_n if windows <= 0: result = {"windows": 0, "max_hypotension_auc": float("nan")} else: depth_trim = depth[: windows * win_n].reshape(windows, win_n) aucs = depth_trim.sum(axis=1) * dt # mmHg * s max_auc = float(np.nanmax(aucs)) if aucs.size else float("nan") result = {"windows": int(windows), "max_hypotension_auc": max_auc}
21 | caseid가 1인 환자의 SBP(Solar8000/ART_SBP)와 DBP(Solar8000/ART_DBP)의 기록 시간을 1초 단위로 일치시키고 SBP - DBP 수식으로 맥압(Pulse Pressure)을 구해주세요. 맥압이 30mmHg 이하로 연속 10분(600초) 동안 유지되는 구간(이벤트)의 개수를 세어주세요. NaN이 아닌 값들만 조건 체크에 포함합니다. 결과는 단일 float 값으로 출력해주세요. | 1.0 | 0.0 | float | X | 0 | 불일치 (차이: 1.000000) | Solar8000/ART_SBP,Solar8000/ART_DBP | Solar8000/ART_DBP, Solar8000/ART_SBP, Time | X | 20053.9219 |  | # Select caseid=1 (signals keys are strings in the provided environment) caseid = '1' df = signals.get(caseid, None) if df is None or df.empty: result = float(0) else: # Align at 1-second resolution using the existing 1Hz Time index # Keep only rows where both SBP and DBP are non-NaN (NaN rows excluded from condition check) cols = ['Time', 'Solar8000/ART_SBP', 'Solar8000/ART_DBP'] d = df[cols].copy() d = d.dropna(subset=['Solar8000/ART_SBP', 'Solar8000/ART_DBP']) if d.empty: result = float(0) else: # Pulse Pressure = SBP - DBP pp = d['Solar8000/ART_SBP'].astype(float) - d['Solar8000/ART_DBP'].astype(float) # Condition: PP <= 30 mmHg cond = (pp <= 30) # We need continuous 600 seconds where condition holds. # Since we dropped NaNs, we must also ensure time continuity (1-second steps). t = d['Time'].astype(float).to_numpy() cond_arr = cond.to_numpy(dtype=bool) # Identify breaks where time is not consecutive by 1 second dt = np.diff(t) time_break = np.concatenate(([False], dt != 1.0)) # Start a new segment when condition is False OR time breaks seg_id = np.cumsum((~cond_arr) ¦ time_break) # Count lengths of True segments only true_seg_ids = seg_id[cond_arr] if true_seg_ids.size == 0: result = float(0) else: seg_lengths = pd.Series(true_seg_ids).value_counts() event_count = int((seg_lengths >= 600).sum()) result = float(event_count)
22 | caseid가 1인 환자의 SBP(Solar8000/ART_SBP)를 linear interpolation 후 10Hz로 리샘플링하고, 피크 검출(최소 0.5초 간격, prominence=5)로 수축기 최고점들을 찾아주세요. 그 후 5분 윈도우를 1분씩 슬라이딩하며 각 윈도우 내 피크들의 평균을 계산하고, 이 이동평균 값들의 [min, max] 범위를 구해주세요. 결과는 {"systolic_ma_range": [min, max]} 형식의 dict로 출력해주세요. | {'systolic_ma_range': [43.0, 241.5]} | {'systolic_ma_range': [-1.0, 241.5]} | dict | X | 0 | 값 불일치: systolic_ma_range: [43.0, 241.5] != [-1.0, 241.5] | Solar8000/ART_SBP | Solar8000/ART_SBP, Time | O | 21560.2341 |  | # Target case caseid = '1' if caseid not in signals or signals[caseid].empty: result = {"systolic_ma_range": [np.nan, np.nan]} else: df = signals[caseid][['Time', 'Solar8000/ART_SBP']].copy() # Ensure numeric df['Time'] = pd.to_numeric(df['Time'], errors='coerce') df['Solar8000/ART_SBP'] = pd.to_numeric(df['Solar8000/ART_SBP'], errors='coerce') df = df.dropna(subset=['Time']).sort_values('Time') if df.empty: result = {"systolic_ma_range": [np.nan, np.nan]} else: # Build 10Hz time grid over available time range t_min = df['Time'].min() t_max = df['Time'].max() if not np.isfinite(t_min) or not np.isfinite(t_max) or t_max <= t_min: result = {"systolic_ma_range": [np.nan, np.nan]} else: # 10Hz => 0.1s t10 = np.arange(t_min, t_max + 1e-9, 0.1) # Linear interpolation (only within valid SBP range; no extrapolation) sbp_interp = pd.Series(df['Solar8000/ART_SBP'].values, index=df['Time'].values) sbp_interp = sbp_interp[~sbp_interp.index.duplicated(keep='last')].sort_index() sbp_10 = sbp_interp.reindex(sbp_interp.index.union(t10)).interpolate(method='index') sbp_10 = sbp_10.reindex(t10) # Peak detection on valid (non-NaN) segments valid_mask = np.isfinite(sbp_10.values) if valid_mask.sum() < 3: result = {"systolic_ma_range": [np.nan, np.nan]} else: # Find contiguous valid segments to avoid NaNs breaking peak detection valid_int = valid_mask.astype(int) edges = np.diff(np.r_[0, valid_int, 0]) seg_starts = np.where(edges == 1)[0] seg_ends = np.where(edges == -1)[0] # exclusive peak_times = [] peak_vals = [] min_distance_samples = int(math.ceil(0.5 / 0.1)) # 0.5s at 10Hz => 5 samples for s, e in zip(seg_starts, seg_ends): seg_len = e - s if seg_len < 3: continue y = sbp_10.values[s:e] peaks, props = scipy.signal.find_peaks( y, distance=min_distance_samples, prominence=5 ) if peaks.size > 0: peak_idx = peaks + s peak_times.append(t10[peak_idx]) peak_vals.append(sbp_10.values[peak_idx]) if len(peak_times) == 0: result = {"systolic_ma_range": [np.nan, np.nan]} else: peak_times = np.concatenate(peak_times) peak_vals = np.concatenate(peak_vals) # Sliding window: 5 min window, step 1 min win = 300.0 step = 60.0 start0 = t10[0] end0 = t10[-1] # Window start times such that [start, start+win) fits in range if end0 - start0 < win: result = {"systolic_ma_range": [np.nan, np.nan]} else: win_starts = np.arange(start0, end0 - win + 1e-9, step) ma_vals = np.full(win_starts.shape, np.nan, dtype=float) # Compute mean peak value within each window for i, ws in enumerate(win_starts): we = ws + win in_win = (peak_times >= ws) & (peak_times < we) if np.any(in_win): ma_vals[i] = np.nanmean(peak_vals[in_win]) if np.all(~np.isfinite(ma_vals)): result = {"systolic_ma_range": [np.nan, np.nan]} else: ma_min = float(np.nanmin(ma_vals)) ma_max = float(np.nanmax(ma_vals)) result = {"systolic_ma_range": [ma_min, ma_max]}
23 | caseid가 1인 환자의 DBP(Solar8000/ART_DBP)를 1초 단위로 맞추고, 10분 크기의 윈도우를 1분씩 이동하며(sliding window, step=60초) 각 윈도우에서 선형회귀(np.polyfit degree=1)로 기울기(mmHg/sec)를 구해주세요. 기울기에 60을 곱해 mmHg/min으로 변환하고, 절대값이 가장 큰 기울기를 steepest_slope_mmHg_per_min으로 출력해주세요. 결과는 {"windows": int, "steepest_slope_mmHg_per_min": float} 형식의 dict로 출력해주세요. | {'windows': 172, 'steepest_slope_mmHg_per_min': 11.238} | {'windows': 183, 'steepest_slope_mmHg_per_min': 11.239555387653848} | dict | X | 0 | 값 불일치: windows: 172.0 != 183.0 | Solar8000/ART_DBP | Solar8000/ART_DBP, Time | O | 22910.8348 |  | caseid = '1' if caseid not in signals: result = {"windows": 0, "steepest_slope_mmHg_per_min": float("nan")} else: df = signals[caseid][['Time', 'Solar8000/ART_DBP']].copy() df = df.sort_values('Time') # Align to 1-second grid using linear interpolation on time (NaN-safe) t_min = df['Time'].min() t_max = df['Time'].max() if pd.isna(t_min) or pd.isna(t_max) or t_max < t_min: result = {"windows": 0, "steepest_slope_mmHg_per_min": float("nan")} else: t0 = int(np.ceil(t_min)) t1 = int(np.floor(t_max)) if t1 - t0 < 0: result = {"windows": 0, "steepest_slope_mmHg_per_min": float("nan")} else: grid_time = np.arange(t0, t1 + 1, 1, dtype=float) s = df.set_index('Time')['Solar8000/ART_DBP'] s = s[~s.index.duplicated(keep='last')].sort_index() s_grid = s.reindex(grid_time).interpolate(method='index', limit_area='inside') y = s_grid.to_numpy(dtype=float) n = y.size win = 600 # 10 minutes step = 60 # 1 minute if n < win: result = {"windows": 0, "steepest_slope_mmHg_per_min": float("nan")} else: starts = np.arange(0, n - win + 1, step, dtype=int) windows = int(starts.size) slopes_mmHg_per_min = np.full(windows, np.nan, dtype=float) for i, st in enumerate(starts): seg = y[st:st + win] mask = np.isfinite(seg) if mask.sum() >= 2: x = np.arange(win, dtype=float)[mask] # seconds within window yy = seg[mask] slope_mmHg_per_sec = np.polyfit(x, yy, 1)[0] slopes_mmHg_per_min[i] = slope_mmHg_per_sec * 60.0 if np.isfinite(slopes_mmHg_per_min).any(): steepest = float(np.nanmax(np.abs(slopes_mmHg_per_min))) else: steepest = float("nan") result = {"windows": windows, "steepest_slope_mmHg_per_min": steepest}